Facilities Output Specification

Annex 1

Statutory  Requirements

ANNEX 1: STATUTORY REQUIREMENTS

# Regulatory AND STATUTORY Guidance

## The Education (School Premises) Regulations 1999

Disability Discrimination Act 2005

Building Regulations 2000 SI 2000/2531 (as amended)

The Building and Approved Inspectors (Amendment) Regulations 2006 (SI 2006/652)

Construction (Design and Management) Regulations 2007 (CDM 2007)

# Building Bulletins; GUIDANCE

BB102 - Designing for children and young people with special educational needs or disabilities in mainstream and special schools

Publication Date:	June 2008

## BB101 - Ventilation of school buildings

Publication Date:	2006

## BB100 - Design for Fire Safety in Schools

Publication Date:	2007

## BB99 - Briefing Framework for Primary School Projects

Publication Date:	2006

## BB98 - Briefing Framework for Secondary School Projects

Publication Date:	2004

## BB93 - Acoustic Design of Schools

Publication Date:	2003

## BB92 - Modern Foreign Languages Accommodation: A Design Guide

Publication Date:	2000

## BB90 - Lighting Design for Schools

Publication Date:	1999

## BB89 - Art Accommodation in Secondary Schools

Publication Date:	1998

## BB88 - Fume Cupboards in Schools

Publication Date:	1998

## BB87 - Guidelines for Environmental Design

Publication Date:	2003

## BB86 - Music Accommodation in Secondary Schools

Publication Date:	1997

## BB85 - School Grounds: A Guide to Good Practice

Publication Date:	1997

## BB81 - Design and Technology Accommodation in Schools: A Design Guide

Publication Date:	Published 1996 revised 2004

## BB80 - Science Accommodation in Secondary Schools: A Design Guide

Publication Date:	Published 1999 revised 2004

# Building Bulletins; recommendations

## BB79 - Passive Solar Schools: A Design Guide

Publication Date:	1995

## BB78 - Security Lighting Crime Prevention on Schools Series

Publication Date:	1993

## BB76 - Maintenance of Electrical Services Maintenance and Renewal in Educational Buildings Series

Publication Date:	1992

## BB75 - Closed Circuit TV Surveillance Systems in Educational Buildings Crime Prevention in Schools Series

Publication Date:	1991

## BB73 - A Guide to Energy Efficient Refurbishment Maintenance and Renewal in Educational Buildings Series

Publication Date:	1991

## BB71 - The Outdoor Classroom Second Edition

Publication Date:	1999

## BB70 - Maintenance of Mechanical Services Maintenance and Renewal in Educational Buildings Series

Publication Date:	1990

## BB69 - Crime Prevention in Schools: Specification, Installation and Maintenance of Intruder Alarm Systems

Publication Date:	1989

## BB67 - Crime Prevention in Schools: Practical Guidance

Publication Date:	1987

# Schools for the Future series

Contractors designs will be expected where relevant to reflect the thinking set out in the following publications:

## Project Faraday – Exemplar designs for science

Publication Date:	2007

## Inspirational Design for Kitchen & Dining Spaces

Publication Date:	2007

## BB95 - Schools for the Future: Designs for learning communities

Publication Date:	2002

## Transforming Schools: an inspirational guide to remodelling secondary schools

Publication Date:	2004

## Classrooms of the Future

Publication Date:	2003

## Design of sustainable schools: case studies

Publication Date:	2006

## Designing schools for extended services

Publication Date:	2006

## Exemplar Designs: concepts and ideas

Publication Date:	2004

## Inspirational Design for PE and Sport Sciences

Publication Date:	2005

## Designing School Grounds

Publication Date:	2006

# Standard Specification, Layouts and Dimensions Guidance

Contractors designs will be expected where relevant to take account of the guidance set out in the following publications:

## Standard Specification, Layouts and Dimensions Guidance 1: Partitions in Schools

Publication Date:	2007

## Standard Specification, Layouts and Dimensions Guidance 2: Floor Finishes in Schools

Publication Date:	2007

## Standard Specification, Layouts and Dimensions Guidance 3: Toilets in Schools

Publication Date:	2007

## Standard Specification, Layouts and Dimensions Guidance 4: Lighting systems in schools

Publication Date:	2007

## Standard Specification, Layouts and Dimensions Guidance 5: Roof coverings in Schools

Publication Date:	2008

## Standard Specification, Layouts and Dimensions Guidance 6: Internal stairways in schools

Publication Date:	2008

## Standard Specification, Layouts and Dimensions Guidance 7: Internal doorsets in schools

Publication Date:	2008

## Standard Specification, Layouts and Dimensions Guidance 8: Sprinklers in schools

Publication Date:	2008

2  Other

2.1  Education (school Premises) Regulations 1999

2.2   DfES Building Bulletins BB91 “Access for Disabled People to school Buildings – Management and Design Guide”;

2.3   BB94 “Inclusive school Design - Accommodating Pupils With Special Educational Needs and Disabilities in Mainstream schools ”;

2.4   BS 8300:2001 “Design of buildings and their approaches to meet the needs of disabled people – Code of practice”;

2.5   BS 5588-8:1999 “Fire precautions in the design, construction and use of buildings – Part 8 Code of practice for means of escape for disabled people”; and

2.6   The published findings of “Project Rainbow” by the University of Reading on Colour and Contrast for the visually impaired.