## Title Sheet
PfS Contractors' Framework
Tool
Invitation to Tender (ITT)
Evaluation Matrix
Introduction
This ITT Scoring Matrix is provided to assist Local Authorities with their Contractors' Framework procurements. The ITT Scoring Matrix must be customised in order to reflect local project specifics. The Local Authorities are advised to use this evaluation checklist, using their technical advisors to develop project specific questions for each area covered by the checklist. The weightings for each area are provided. It is for the Local Authorities to determine the weightings for the specific questions, which should reflect their importance to the project. In constructing the checklist Local Authorities should remember that they will be required to provide feedback to unsuccessful bidders. Local Authorities should request, where possible, that bidder responses are quantifiable and when using the checklist Local Authorities should endeavour to quantify the costs and benefits of the bidder responses, to ensure that their assessment is as objective as possible.
Local Authorities will want to take their own legal advice and liaise with their PfS Project Director before finalising their ITT Scoring Matrix and the accompanying procurement documents.
PfS and its advisers accept no liability whatsoever for any expense, liability, loss, claim or proceedings arising from reliance placed upon this Academies ITT Scoring Matrix.
Document Properties
| Document Owner |  |  |  | Academies Director
| Organisation |  |  |  | PfS
| Title |  |  |  | PfS National Framework
Tool
Invitation To Tender (ITT) Evaluation Matrix
Version History
| Date | Version | Status | Editor | Comments
| 2010-01-25 | 1.0 | Issued | JS | First issue for Contractors' Framework

## Summary
Section | Weighting | Weighted Score
|  | Bidder 1 | Bidder 2
|  | [Bidder 1 Name] | [Bidder 2 Name]
Design and Design Management | 60-80% | 0% | 0%
Delivery | 20-30% | 0% | 0%
Handover | 10-20% | 0% | 0%
Pricing | 5-10% | 0% | 0%
Total | 0% | 0% | 0%

## Bidder 1
Bidder Name: |  | [Bidder 1 Name]
Yes/No
General Compliance Check | [6 empty] | Yes
Section |  |  | Provided | Page Limit | Page Count | Remarks | No
Part 1 - Design and Construction Contract Proposals |  |  | Yes/No | No
Part 2 - Design and Design Management |  |  | Yes/No
Part 3 - Delivery |  |  | Yes/No
Part 4 - Handover |  |  | Yes/No
Part 5 - Pricing |  |  | Yes/No
Scoring Matrix
Ref | Criteria |  | Weighting | Score | Weighted Score | Remarks
Part 1 - DESIGN AND CONSTRUCTION CONTRACTUAL PROPOSALS
The responses to Part 1 are intended to form the basis for the project specific elements of the Design and Build contract. Part 1 is not scored separately, but must be considered alongside the responses given to Parts 2 - 5 below.
| Part 2 - DESIGN and DESIGN MANAGEMENT |  | 60-80%
This section invites Bidders to expand upon and complement their response in Part 1 with an explanation of how their design achieves or exceeds the requirements. Responses must be read in conjunction with those to Part 1. Note that many of the headings below are based on those within the Authority’s Requirements, Part A2 Education Brief,Parts B1 &B2 – Design Brief and Parts C1&C2 Furniture and Equipment Brief; due consideration should be given to these requirements in reviewing this section.
2.1 - DESIGN PRINCIPLES
Design Standards
E1 | The Contractors Proposals shall comply with the overarching design objectives set out in the CABE 10 points for good design. The Evaluation Team should make reference to the critque of the local review workshop panel |  |  |  | 0%
Site, Location, Layout, Aspect and Orientation
E2 | Designs should address the following points for making the best use of the site: a) The design should foster a sense of place b) The design should deal with site-specific constraints c) The buildings, grounds and facilities should be arranged well on the site d) The configuration of buildings should create positive internal an external spaces e) The external circulation routes should be clear and balance the demands of different users The design of the site layout should: a) take account of the character of the area, the topography of the site, including its shape, contours and subsoil, and its exposure to wind and rain; b) exploit views and mitigate the effects of adverse environmental conditions such as traffic noise, unattractive views, or neighbours in close proximity, including any highlighted in Part B2; c) allow for supervision, where possible over more than one activity at a time; d) provide a secure environment which discourages trespass and vandalism; e) provide easy access between changing rooms and outdoor PE facilities, and between community parking areas and parts of the buildings and grounds likely to be used outside school hours; f) ensure all external areas, including roads, paths, ramps and entrances, are fully negotiable by disabled users; g) locate facilities, activities and circulation safely; h) provide safe and convenient access for pedestrians and cyclists, with safe access and secure storage for goods and waste; i) provide sufficient car parking, as well as separate bays for disabled users and visitors, in line with the number of bays required in Part B2; j) provide good access to public transport where it is available |  |  |  | 0%
Access and Inclusion
E3 | It should be easy to find your way around the school and there should be clarity in the arrangement and location of entrances, main circulation routes and key spaces. The buildings and grounds should provide good access for everyone in line with national and local inclusion policies.
E4 | Furniture in each space shall provide sufficient flexibility to accommodate a range of pupils with disabilities, for example through full adjustability. F & E layouts should allow safe access to all necessary areas of the room where disabled pupils are accommodated [e.g. from workstation to whiteboard] F & E should enable good access to the activities needed in the curriculum for pupils, staff and visitors with special educational needs or disabilities, including impaired sight and hearing. |  |  |  | 0%
Organisation and Layout
E5 | The design should provide a good organisation of spaces in plan and section, be easily legible and fully accessible, with circulation that is well organised and imaginatively designed, and good arrival space to suit the community as well as the school. All designs should create a clear diagram for the buildings: a) The educational agenda should be successfully accommodated in the internal arrangement of spaces b) There should be a clear spatial diagram for the building c) The learning spaces should be arranged well across the school |  |  |  | 0%
Internal Space
E6 | Do the Schedule of Areas meet the Authority's Requirements? |  |  | Yes/No
| Internal design of the school should demonstrate the bidders approach to combining spaces and adjacencies to create flexibility and adaptability • Entrances, Internal circulation and social spaces; • Supplementary areas (eg. parent or community use rooms); • Group spaces, Large spaces, General teaching spaces; • Practical teaching spaces (science laboratories, technology, art and design); • Information and communication technology, Performance teaching areas; • Halls, Dining areas, Learning resource areas; • Sports hall, Non-teaching areas / staff and administrative areas; • Support areas, Storage; • Kitchen, plant and service areas, and Toilets. |  |  |  | 0%
E7 | Do the F&E layouts demonstrate that he Bidder has an understanding of: a) the likely activities to be accommodated within each space type the school requires in the Schedule of Accommodation b) the range of activities which may need to take place and the change in layout that may be required to be facilitated by the F & E c) the broad range of F & E available on the market and any developments of new designs or standards |  |  |  | 0%
External Space - Grounds
E8 | The designs should address the following points, making assets of the outdoor spaces: a) The grounds and planting should contribute to creating a sense of place b) The design should respond to the existing topography, climate and ecology of the site c) Outdoor spaces should be provided for a variety of different student social activities, interest ranges and group sizes d) There should be provisions for outdoor learning e) There should be opportunities for a wide range of physical activities The Bidders propoals should also demonstrate how the designs for external spaces offer a variety of different settings for leisure, learning and sport and a) Ensure that there are no leftover or unplanned outdoor spaces with little function or no access. b) All area accessible to pupils should be capable of being easily supervised and/or overlooked by internal spaces. c) Spaces between wings of buildings should be designed to avoid north-facing, sunless areas if they are to be used by pupils, and external social space should be in areas that are likely to be in the sun. d) The detailed design should pay attention to disabled access including provision of level thresholds. |  |  |  | 0%
E9 | F & E should enhance the external facilities for formal and informal teaching and learning, and social and recreational needs of the school community and should consider the following points: a) F & E shall be safe and stimulating for children and young people b) F & E shall provide for different social groups, ages and abilities. c) F & E shall be chosen to allow a number of layouts and easy rearrangements. d)Some external shelter shall be provided, along with social seating/gathering areas. e) Informal and Social areas shall cater for a wide variety of ages and abilities, the layout and F & E provision shall provide for those wishing to gather, socialise, eat snacks, let off steam, sit, relax or play. f) Part of the hard-surfaced informal and social areas shall be laid out for physical activities, such as playgrounds. |  |  |  | 0%
2.2 -DESIGN OUTCOMES
Design Philosophy
E10 | Principle design drivers should respond to the vision and ethos of the school as identified in the Authority's Requirements |  |  |  | 0%
Flexibility and Adaptability
E11 | To suit changes in policy, technology and changing demands of the curriculum and organisation, the building and grounds should be able to respond to changing school needs: with the flexibility to allow for short-term changes of layout and use, and adaptability for long-term expansion or contraction. All designs should address the following points ,creating a school that can adapt and evolve in the future: a) The design should provide day-to-day flexibility for different types of learning and teaching b) The building should be adaptable to accommodate different organisational structures or pedagogies [over time] c) The design should allow for future expansion of the school
E12 | To suit short- and long-term changes in teaching methods, curriculum and organisation, the F & E should be able to respond quickly to changing school needs and be appropriate for all users. A wide range of layouts should be able to be made using the proposed furniture |  |  |  | 0%
The learning Environment
E13 | Contractor's Proposals should meet the educational and organisational needs: • the school’s curriculum demands and their specialism; • the management and organisation proposed and how the building could accommodate different organisations in the future; • the SEN and inclusion policy; • community use both outside and (where relevant) during the school day; • how the design will improve broader educational and behavioural standards; • a detailed statement outlining how the design integrates with ICT and FM requirements; • the size and type of furniture and equipment proposed; and • internal circulation routes are safe and comfortable for all users at lesson changes. |  |  |  | 0%
E14 | The building should enhance the activities of teaching and learning through being a high-quality and aesthetically pleasing environment that will stimulate and inspire young people. The educational vision [, ethos and identity] should be successfully manifested in the design
Welcoming and Secure
E15 | Design addresses safety and security: • ease of visibility/supervision of the external building envelope, pathways, corridors, entrances, site access points, car parks and cloakrooms/WCs including consideration of lighting; • controlled access at the site boundary and entrances; • restricted access to roofs, secure waste/recycling compounds, etc • full details of the Fire Engineering strategy and emergency escape routes; and • appropriate use of security technology.
E16 | The buildings and grounds should be welcoming to both the school and the community while providing adequate security for pupils and staff and a feeling of a secure and environment |  |  |  | 0%
2.3 ENVIRONMENTAL CONDITIONS
Internal Environment
E17 | The internal environment should provide comfortable environmental conditions throughout including creative and maximum use of natural light, suitable ventilation for different activities and an appropriate level of personal control. All designs should address the following points , creating excellent interior spaces for learning and teaching, and resources: deploying convincing environmental strategies: a) The acoustic requirements of different spaces should be achieved b) The optimum orientation for different types of spaces should be considered c) The design of the elevations should respond to different orientations d) The ventilation strategy should provide a comfortable environment in which to learn in all seasons e) Spaces should be naturally ventilated where possible [and appropriate] f) Key spaces should be [designed to be] daylit for most of the year g) There should be an imaginative use of daylight to create uplifting spaces |  |  |  | 0%
Building Services
E18 | All designs should address the following points in providing an integrated and responsive system of mechanical, electrical, protective and communication installations: a) All installations comply with all relevant Standards and Regulations in the design of building services for schools. b) Schools shall be capable of being metered separately for all utility consumption and for end use where required e.g. electricity used for lighting. c) Maximum internal noise levels due to plant and equipment shall comply with the requirements of Building Bulletin 93. d) Wherever possible, services shall be located and routed in order to maximise flexibility and choice for room layout ( Adaptability). e) Pipework, cables and equipment, where necessary, shall be easily accessible for maintenance but, wherever possible , hidden from view and made tamper-proof. |  |  |  | 0%
Form and Structure
E19 | a) The building’s form and massing should be appropriate to the site b) The massing should create well proportioned internal and external space c) The building should be well composed, with an effiecient structure that allows future adaptability |  |  |  | 0%
Building Fabric and Materials
E20 | The design should include a simple palette of robust, attractive, environmentally friendly materials and finishes, that are durable and attractive and will weather and wear well. Proposed materials, finishes and components to be used, including: • Floors • External Walls • Glazing • Roof • Internal partitions • Ceilings F&E |  |  |  | 0%
Detals and Integration
E21 | All designs should address the following points in designing good detailing and integration: a) F & E shall be well integrated with the buildings services, fixtures, fittings and finishes b) Where appropriate F & E shall be fully integrated with the schools ICT infrastructure to enable accessible and flexible use of ICT. |  |  |  | 0%
Sustainable Design
E22 | Sustainability Strategy including: • Specific sustainability features; • target water consumption and energy consumption for fuel and electricity; • [a completed carbon calculator showing a reduction in emissions in excess of 60% against the base performance (2002 Building Regulations energy performance levels)]; and • renewable energy target. |  |  |  | 0%
E23 | Does the Bid meet minimum BREEAM requirements? |  |  | Yes/No
| BREEAM score. |  |  | Yes/No
E24 | Approach to and target for Waste reduction and site waste management plan |  |  |  | 0%
E25 | Approach to incorporation of recycled and reused content |  |  |  | 0%
2.4 FACILITIES MANAGEMENT and CONSTRUCTION
Life Cycle Replacement and Facilities Management Services
E26 | FM service requirements met and approach to interface issues. |  |  |  | 0%
E29 | Designs reduce the life cycle and facilities management costs. |  |  |  | 0%
Compliance
E30 | Compliance with current and foreseeable Building Regulations? |  |  | Yes/No
E30 | Acceptability of derogations? |  |  | Yes/No
2.5 DESIGN MANAGEMENT
E30 | Approach to Design Management including: • Resolving technical queries, working with user/stakeholder groups, integrating design disciplines; • Liaison with statutory authorities; • Personnel changes since PITT; and • Procedures for developing and finalising design and specification of the works; |  |  |  | 0%
E31 | Management of the supply chain, key supply alliance partners and benefits they provide to the project. |  |  |  | 0%
| DESIGN and DESIGN MANAGEMENT TOTAL |  | 0% | 0 | 0%
| Part 3 - DELIVERY |  | 20-30%
This section invites Bidders to expand upon and complement their response in Part 1 with an explanation of how their management of the works achieves or exceeds the requirements. Responses must be read in conjunction with those to Part 1.
Approach to Construction
E32 | Proposals for construction approach, including: • Development approach and site logistics; • Main construction risks; • Minimising school disruption; • Personnel changes since PITT; • Project Management Arrangements; • Client Liaison; and • Management of Design Database and Version Control |  |  |  | 0%
Programmes
E33 | Programme of key milestones between appointment as preferred bidder to contract award, considering the following: • Design development; • Interfaces with the Framework User; • Stakeholder approvals; • Outstanding planning consents; and • Agreement of contract documents. |  |  |  | 0%
E34 | Master programme showing the key phases of the development period, considering the following: • Critical path; • Key client approvals / action dates; • Key dates and events in the academic year (e.g. examinations); and • Key access and handover dates. |  |  |  | 0%
E35 | Monitoring progress of Works and ensuring programme is maintained. |  |  |  | 0%
Health and Safety,Quality Assurance
E36 | Quality assurance procedures and how these will be implemented. |  |  |  | 0%
E37 | Accredited health and safety policy for the project.
E38 | Does the Bid meet minimum CDM regulation requirements?
E39 | Approach to health and safety: • relevant issues raised; • risk assessment; • health and safety design strategy; and • consideration of facilities maintenance requirements. |  |  |  | 0%
| DELIVERY TOTAL |  | 0% | 0 | 0%
| Part 4 - HANDOVER |  | 10-20%
This section invites Bidders to expand upon and complement their response in Part 1 with an explanation of how their management of the handover process achieves or exceeds the requirements. Responses must be read in conjunction with those to Part 1.
E40 | Management arrangenments for handover: • the early planning and preparation for handover; • client liaison; • technical commissioning; • integration with client commissioning; • integration with ICT installation; • staff and facilities management personnel training and familiarisation; • handover of keys, codes, etc; • handover of the Health and Safety File, as built drawings, operating and maintenance manuals, etc.; • management of defects within the defects liability period; • management of handover following defects liability period; and • opening events and visits from external parties. |  |  |  | 0%
| HANDOVER TOTAL |  | 0% | 0 | 0%
| Part 5 - PRICING |  | 5-10%
This section requires Bidders to provide pricing information and invites them to decribe their approach to pricing. Responses must be read in conjunction with capital costs provided in Volume 6 and life cycle and FM costs provided in Annex 1 of Volume 7
Capital Costs
E41 | Volume 6 cost schedule provided and affordable. |  |  | Yes/No
E42 | Volume 6 cost schedule comply with Framework rates where appropriate. |  |  | Yes/No
| Costs are realistic, add value, offer discounts, etc. |  |  |  | 0%
Whole Life Costs
E43 | Annex 1 of Volume 7 cost schedule provided. |  |  | Yes/No
E44 | Costs are realistic and provide value for money. |  |  |  | 0%
| PRICING TOTAL |  | 0% | 0 | 0%
| GRAND TOTAL |  | 0% | 0 | 0%
The scores will range from 0 to 10. The following table illustrates the meaning of each score:
| Score | Meaning
| 0 | Unacceptable
| 1 | Very weak - almost unacceptable
| 2 | Weak - well below expectations
| 3 | Poor - below expectations
| 4 | Satisfactory but below expectations
| 5 | Meets expectations
| 6 | Slightly exceeds expectations
| 7 | Good - well above expectations
| 8 | Very good
| 9 | Outstanding
| 10 | Exceptional

## Bidder 2
Bidder Name: |  | [Bidder 2 Name]
Yes/No
General Compliance Check | [6 empty] | Yes
Section |  |  | Provided | Page Limit | Page Count | Remarks | No
Part 1 - Design and Construction Contract Proposals |  |  | Yes/No | No
Part 2 - Design and Design Management |  |  | Yes/No
Part 3 - Delivery |  |  | Yes/No
Part 4 - Handover |  |  | Yes/No
Part 5 - Pricing |  |  | Yes/No
Scoring Matrix
Ref | Criteria |  | Weighting | Score | Weighted Score | Remarks
Part 1 - DESIGN AND CONSTRUCTION CONTRACTUAL PROPOSALS
The responses to Part 1 are intended to form the basis for the project specific elements of the Design and Build contract. Part 1 is not scored separately, but must be considered alongside the responses given to Parts 2 - 5 below.
| Part 2 - DESIGN and DESIGN MANAGEMENT |  | 60-80%
This section invites Bidders to expand upon and complement their response in Part 1 with an explanation of how their design achieves or exceeds the requirements. Responses must be read in conjunction with those to Part 1. Note that many of the headings below are based on those within the Authority’s Requirements, Part A2 Education Brief,Parts B1 &B2 – Design Brief and Parts C1&C2 Furniture and Equipment Brief; due consideration should be given to these requirements in reviewing this section.
2.1 - DESIGN PRINCIPLES
Design Standards
E1 | The Contractors Proposals shall comply with the overarching design objectives set out in the CABE 10 points for good design. The Evaluation Team should make reference to the critque of the local review workshop panel |  |  |  | 0%
Site, Location, Layout, Aspect and Orientation
E2 | Designs should address the following points for making the best use of the site: a) The design should foster a sense of place b) The design should deal with site-specific constraints c) The buildings, grounds and facilities should be arranged well on the site d) The configuration of buildings should create positive internal an external spaces e) The external circulation routes should be clear and balance the demands of different users The design of the site layout should: a) take account of the character of the area, the topography of the site, including its shape, contours and subsoil, and its exposure to wind and rain; b) exploit views and mitigate the effects of adverse environmental conditions such as traffic noise, unattractive views, or neighbours in close proximity, including any highlighted in Part B2; c) allow for supervision, where possible over more than one activity at a time; d) provide a secure environment which discourages trespass and vandalism; e) provide easy access between changing rooms and outdoor PE facilities, and between community parking areas and parts of the buildings and grounds likely to be used outside school hours; f) ensure all external areas, including roads, paths, ramps and entrances, are fully negotiable by disabled users; g) locate facilities, activities and circulation safely; h) provide safe and convenient access for pedestrians and cyclists, with safe access and secure storage for goods and waste; i) provide sufficient car parking, as well as separate bays for disabled users and visitors, in line with the number of bays required in Part B2; j) provide good access to public transport where it is available |  |  |  | 0%
Access and Inclusion
E3 | It should be easy to find your way around the school and there should be clarity in the arrangement and location of entrances, main circulation routes and key spaces. The buildings and grounds should provide good access for everyone in line with national and local inclusion policies.
E4 | Furniture in each space shall provide sufficient flexibility to accommodate a range of pupils with disabilities, for example through full adjustability. F & E layouts should allow safe access to all necessary areas of the room where disabled pupils are accommodated [e.g. from workstation to whiteboard] F & E should enable good access to the activities needed in the curriculum for pupils, staff and visitors with special educational needs or disabilities, including impaired sight and hearing. |  |  |  | 0%
Organisation and Layout
E5 | The design should provide a good organisation of spaces in plan and section, be easily legible and fully accessible, with circulation that is well organised and imaginatively designed, and good arrival space to suit the community as well as the school. All designs should create a clear diagram for the buildings: a) The educational agenda should be successfully accommodated in the internal arrangement of spaces b) There should be a clear spatial diagram for the building c) The learning spaces should be arranged well across the school |  |  |  | 0%
Internal Space
E6 | Do the Schedule of Areas meet the Authority's Requirements? |  |  | Yes/No
| Internal design of the school should demonstrate the bidders approach to combining spaces and adjacencies to create flexibility and adaptability • Entrances, Internal circulation and social spaces; • Supplementary areas (eg. parent or community use rooms); • Group spaces, Large spaces, General teaching spaces; • Practical teaching spaces (science laboratories, technology, art and design); • Information and communication technology, Performance teaching areas; • Halls, Dining areas, Learning resource areas; • Sports hall, Non-teaching areas / staff and administrative areas; • Support areas, Storage; • Kitchen, plant and service areas, and Toilets. |  |  |  | 0%
E7 | Do the F&E layouts demonstrate that he Bidder has an understanding of: a) the likely activities to be accommodated within each space type the school requires in the Schedule of Accommodation b) the range of activities which may need to take place and the change in layout that may be required to be facilitated by the F & E c) the broad range of F & E available on the market and any developments of new designs or standards |  |  |  | 0%
External Space - Grounds
E8 | The designs should address the following points, making assets of the outdoor spaces: a) The grounds and planting should contribute to creating a sense of place b) The design should respond to the existing topography, climate and ecology of the site c) Outdoor spaces should be provided for a variety of different student social activities, interest ranges and group sizes d) There should be provisions for outdoor learning e) There should be opportunities for a wide range of physical activities The Bidders propoals should also demonstrate how the designs for external spaces offer a variety of different settings for leisure, learning and sport and a) Ensure that there are no leftover or unplanned outdoor spaces with little function or no access. b) All area accessible to pupils should be capable of being easily supervised and/or overlooked by internal spaces. c) Spaces between wings of buildings should be designed to avoid north-facing, sunless areas if they are to be used by pupils, and external social space should be in areas that are likely to be in the sun. d) The detailed design should pay attention to disabled access including provision of level thresholds. |  |  |  | 0%
E9 | F & E should enhance the external facilities for formal and informal teaching and learning, and social and recreational needs of the school community and should consider the following points: a) F & E shall be safe and stimulating for children and young people b) F & E shall provide for different social groups, ages and abilities. c) F & E shall be chosen to allow a number of layouts and easy rearrangements. d)Some external shelter shall be provided, along with social seating/gathering areas. e) Informal and Social areas shall cater for a wide variety of ages and abilities, the layout and F & E provision shall provide for those wishing to gather, socialise, eat snacks, let off steam, sit, relax or play. f) Part of the hard-surfaced informal and social areas shall be laid out for physical activities, such as playgrounds. |  |  |  | 0%
2.2 -DESIGN OUTCOMES
Design Philosophy
E10 | Principle design drivers should respond to the vision and ethos of the school as identified in the Authority's Requirements |  |  |  | 0%
Flexibility and Adaptability
E11 | To suit changes in policy, technology and changing demands of the curriculum and organisation, the building and grounds should be able to respond to changing school needs: with the flexibility to allow for short-term changes of layout and use, and adaptability for long-term expansion or contraction. All designs should address the following points ,creating a school that can adapt and evolve in the future: a) The design should provide day-to-day flexibility for different types of learning and teaching b) The building should be adaptable to accommodate different organisational structures or pedagogies [over time] c) The design should allow for future expansion of the school
E12 | To suit short- and long-term changes in teaching methods, curriculum and organisation, the F & E should be able to respond quickly to changing school needs and be appropriate for all users. A wide range of layouts should be able to be made using the proposed furniture |  |  |  | 0%
The learning Environment
E13 | Contractor's Proposals should meet the educational and organisational needs: • the school’s curriculum demands and their specialism; • the management and organisation proposed and how the building could accommodate different organisations in the future; • the SEN and inclusion policy; • community use both outside and (where relevant) during the school day; • how the design will improve broader educational and behavioural standards; • a detailed statement outlining how the design integrates with ICT and FM requirements; • the size and type of furniture and equipment proposed; and • internal circulation routes are safe and comfortable for all users at lesson changes. |  |  |  | 0%
E14 | The building should enhance the activities of teaching and learning through being a high-quality and aesthetically pleasing environment that will stimulate and inspire young people. The educational vision [, ethos and identity] should be successfully manifested in the design
Welcoming and Secure
E15 | Design addresses safety and security: • ease of visibility/supervision of the external building envelope, pathways, corridors, entrances, site access points, car parks and cloakrooms/WCs including consideration of lighting; • controlled access at the site boundary and entrances; • restricted access to roofs, secure waste/recycling compounds, etc • full details of the Fire Engineering strategy and emergency escape routes; and • appropriate use of security technology.
E16 | The buildings and grounds should be welcoming to both the school and the community while providing adequate security for pupils and staff and a feeling of a secure and environment |  |  |  | 0%
2.3 ENVIRONMENTAL CONDITIONS
Internal Environment
E17 | The internal environment should provide comfortable environmental conditions throughout including creative and maximum use of natural light, suitable ventilation for different activities and an appropriate level of personal control. All designs should address the following points , creating excellent interior spaces for learning and teaching, and resources: deploying convincing environmental strategies: a) The acoustic requirements of different spaces should be achieved b) The optimum orientation for different types of spaces should be considered c) The design of the elevations should respond to different orientations d) The ventilation strategy should provide a comfortable environment in which to learn in all seasons e) Spaces should be naturally ventilated where possible [and appropriate] f) Key spaces should be [designed to be] daylit for most of the year g) There should be an imaginative use of daylight to create uplifting spaces |  |  |  | 0%
Building Services
E18 | All designs should address the following points in providing an integrated and responsive system of mechanical, electrical, protective and communication installations: a) All installations comply with all relevant Standards and Regulations in the design of building services for schools. b) Schools shall be capable of being metered separately for all utility consumption and for end use where required e.g. electricity used for lighting. c) Maximum internal noise levels due to plant and equipment shall comply with the requirements of Building Bulletin 93. d) Wherever possible, services shall be located and routed in order to maximise flexibility and choice for room layout ( Adaptability). e) Pipework, cables and equipment, where necessary, shall be easily accessible for maintenance but, wherever possible , hidden from view and made tamper-proof. |  |  |  | 0%
Form and Structure
E19 | a) The building’s form and massing should be appropriate to the site b) The massing should create well proportioned internal and external space c) The building should be well composed, with an effiecient structure that allows future adaptability |  |  |  | 0%
Building Fabric and Materials
E20 | The design should include a simple palette of robust, attractive, environmentally friendly materials and finishes, that are durable and attractive and will weather and wear well. Proposed materials, finishes and components to be used, including: • Floors • External Walls • Glazing • Roof • Internal partitions • Ceilings F&E |  |  |  | 0%
Detals and Integration
E21 | All designs should address the following points in designing good detailing and integration: a) F & E shall be well integrated with the buildings services, fixtures, fittings and finishes b) Where appropriate F & E shall be fully integrated with the schools ICT infrastructure to enable accessible and flexible use of ICT. |  |  |  | 0%
Sustainable Design
E22 | Sustainability Strategy including: • Specific sustainability features; • target water consumption and energy consumption for fuel and electricity; • [a completed carbon calculator showing a reduction in emissions in excess of 60% against the base performance (2002 Building Regulations energy performance levels)]; and • renewable energy target. |  |  |  | 0%
E23 | Does the Bid meet minimum BREEAM requirements? |  |  | Yes/No
| BREEAM score. |  |  | Yes/No
E24 | Approach to and target for Waste reduction and site waste management plan |  |  |  | 0%
E25 | Approach to incorporation of recycled and reused content |  |  |  | 0%
2.4 FACILITIES MANAGEMENT and CONSTRUCTION
Life Cycle Replacement and Facilities Management Services
E26 | FM service requirements met and approach to interface issues. |  |  |  | 0%
E29 | Designs reduce the life cycle and facilities management costs. |  |  |  | 0%
Compliance
E30 | Compliance with current and foreseeable Building Regulations? |  |  | Yes/No
E30 | Acceptability of derogations? |  |  | Yes/No
2.5 DESIGN MANAGEMENT
E30 | Approach to Design Management including: • Resolving technical queries, working with user/stakeholder groups, integrating design disciplines; • Liaison with statutory authorities; • Personnel changes since PITT; and • Procedures for developing and finalising design and specification of the works; |  |  |  | 0%
E31 | Management of the supply chain, key supply alliance partners and benefits they provide to the project. |  |  |  | 0%
| DESIGN and DESIGN MANAGEMENT TOTAL |  | 0% | 0 | 0%
| Part 3 - DELIVERY |  | 20-30%
This section invites Bidders to expand upon and complement their response in Part 1 with an explanation of how their management of the works achieves or exceeds the requirements. Responses must be read in conjunction with those to Part 1.
Approach to Construction
E32 | Proposals for construction approach, including: • Development approach and site logistics; • Main construction risks; • Minimising school disruption; • Personnel changes since PITT; • Project Management Arrangements; • Client Liaison; and • Management of Design Database and Version Control |  |  |  | 0%
Programmes
E33 | Programme of key milestones between appointment as preferred bidder to contract award, considering the following: • Design development; • Interfaces with the Framework User; • Stakeholder approvals; • Outstanding planning consents; and • Agreement of contract documents. |  |  |  | 0%
E34 | Master programme showing the key phases of the development period, considering the following: • Critical path; • Key client approvals / action dates; • Key dates and events in the academic year (e.g. examinations); and • Key access and handover dates. |  |  |  | 0%
E35 | Monitoring progress of Works and ensuring programme is maintained. |  |  |  | 0%
Health and Safety,Quality Assurance
E36 | Quality assurance procedures and how these will be implemented. |  |  |  | 0%
E37 | Accredited health and safety policy for the project.
E38 | Does the Bid meet minimum CDM regulation requirements?
E39 | Approach to health and safety: • relevant issues raised; • risk assessment; • health and safety design strategy; and • consideration of facilities maintenance requirements. |  |  |  | 0%
| DELIVERY TOTAL |  | 0% | 0 | 0%
| Part 4 - HANDOVER |  | 10-20%
This section invites Bidders to expand upon and complement their response in Part 1 with an explanation of how their management of the handover process achieves or exceeds the requirements. Responses must be read in conjunction with those to Part 1.
E40 | Management arrangenments for handover: • the early planning and preparation for handover; • client liaison; • technical commissioning; • integration with client commissioning; • integration with ICT installation; • staff and facilities management personnel training and familiarisation; • handover of keys, codes, etc; • handover of the Health and Safety File, as built drawings, operating and maintenance manuals, etc.; • management of defects within the defects liability period; • management of handover following defects liability period; and • opening events and visits from external parties. |  |  |  | 0%
| HANDOVER TOTAL |  | 0% | 0 | 0%
| Part 5 - PRICING |  | 5-10%
This section requires Bidders to provide pricing information and invites them to decribe their approach to pricing. Responses must be read in conjunction with capital costs provided in Volume 6 and life cycle and FM costs provided in Annex 1 of Volume 7
Capital Costs
E41 | Volume 6 cost schedule provided and affordable. |  |  | Yes/No
E42 | Volume 6 cost schedule comply with Framework rates where appropriate. |  |  | Yes/No
| Costs are realistic, add value, offer discounts, etc. |  |  |  | 0%
Whole Life Costs
E43 | Annex 1 of Volume 7 cost schedule provided. |  |  | Yes/No
E44 | Costs are realistic and provide value for money. |  |  |  | 0%
| PRICING TOTAL |  | 0% | 0 | 0%
| GRAND TOTAL |  | 0% | 0 | 0%
The scores will range from 0 to 10. The following table illustrates the meaning of each score:
| Score | Meaning
| 0 | Unacceptable
| 1 | Very weak - almost unacceptable
| 2 | Weak - well below expectations
| 3 | Poor - below expectations
| 4 | Satisfactory but below expectations
| 5 | Meets expectations
| 6 | Slightly exceeds expectations
| 7 | Good - well above expectations
| 8 | Very good
| 9 | Outstanding
| 10 | Exceptional